## Calculators
k |  |  |  | FMS Order Location: | Main General Store of DMM Warehouse
Procurment Division
MONTGOMERY COUNTY PUBLIC SCHOOLS
Rockville, Maryland
Contract Summary: 7006.9 Calculators and CBL Data Collection Systems
Contract Term: 11/26/2023 through 11/25/2024 |  |  |  | Buyer: | Sylvia Hardy sylvia_hardy@mcpsmd.org
TO ORDER BID ITEMS: Copy contract summary description and paste into white search bar in the HUB.
Warehouse No. | Supplier | Category | Description | UOM | Price
| The Bach Company | 785.85 | Accelerometer High 25-G Sensor With Acceleration Range Of +250 M/S Sq (+25g) Flexible 2-Meter Cable Din Connector. Brand: 470002-948 Model: ACC-BTA | Each | 110
| The Bach Company | 785.85 | Accelerometer Low-G Sensor With Acceleration Range Of +50 M/S Sq (+5g) Flexible 2-Meter Cable Din Connector. Brand: 470002-950 Model: LGA-BTA | Each | 99
| The Bach Company | 785.85 | Barometer Pressure Range Of 24 To 32 Inches Of Hg (0.8 To 1.05 Atm) Absolute Pressure Din Connector. Brand: 470120-628 Model: BAR-BTA | Each | 79
| The Bach Company | 785.85 | BIOLOGY WITH VERNIER BOOK for use with LQ2-BIO-ODX Includes experiments for cell respiration, photosynthesis, membrane diffusion, osmosis, human physiology, transpiration, fermentation, and more. | Each | 48
| The Bach Company | 785.85 | Calculator 8 Digit Display Slide Case Addition/ Subtraction/ Multiplication/ Division Automatic Constant Change Sign (+/-). Brand: 470151-736 Model: TI # 108/BK/D | Each | 4.19
| The Bach Company | 785.85 | Calculator Basic 4 Function 8 Digit Display Slide Case Addition/Subtraction/Multiplication/Division Automatic Constant Change Sign (+/-) Percent Square Root Keys 3 Key Memory Clear Last And/. Brand: Misc-Edu-Mat - Ti108tk Model: TI # 108/T | Set | 41.9
| The Bach Company | 785.85 | Calculator Graphing TI NSPIRE CX II CAS | Each | 132.2
| The Bach Company | 785.85 | Calculator TI34 Class set of 10 | Set | 169.99
| The Bach Company | 785.85 | Calculator TI83 PLUS each | Each | 93.4
| The Bach Company | 785.85 | Calculator TI83 PLUS CS Class set of 10 | Set | 934
| The Bach Company | 785.85 | Calculator TI83 PLUS CS Class set of 30 | set | 2802
| Investscure | 785.85 | Conductivity probe capable of monitoring conductivity of solutions at three different sensitivity settings CONBTA | Each | 138
| The Bach Company | 785.85 | Calculator, 2-Line Display, Set Of 10.. Brand: Misc-Edu-Mat-Ti15tk Model: TI # TI15TK | Set | 141.45
| The Bach Company | 785.85 | Calculator, Graphic, Ti 83 Plus, Texas Instruments, Ti 83 Plus TI # 83PL/TBL/1L1/A | Each | 93.4
833950 | DMM Warehouse | 600 | Calculator, Graphic, Ti 84 Plus, Texas Instruments | Each | 102.27
| The Bach Company | 785.85 | Calculator, Scientific/Trigonometric, 2-Line Display, 10+2 Digit Answer, Scientific And Engineering Notation, Dual Power Source. Set Of 10. Brand: 470022-178 Model: TI # 30XIISTKT1L1B | Set | 109.7
| The Bach Company | 785.85 | Calculator, Scientific/Trigonometric, 2-Line Display, 10+2 Digit Answer. Brand: 470151-728 Model: TI # TI-30X-IIS | Each | 10.97
| The Bach Company | 785.85 | CHEMISTRY WITH VERNIER BOOK for use with LQ2-CH-DX Includes experiments for gas pressure sensor, temperature probe, pH sensor, conductivity probe, colorimeter, and voltage probe. | Each | 48
| The Bach Company | 785.85 | Colorimeter An Rgb Colorimetry Chamber (Red-635 Nm Green-565 Nm Blue-470 Nm) Includes Fifteen 3.5-Ml Cuvettes Din Connector. Brand: 470001-854 Model: COL-BTA | Each | 128
| The Bach Company | 785.85 | Conductivity Probe Capable Of Monitoring Conductivity Of Solutions At 3 Different Sensitivity Settings Covering 0 To 10,000 Mg/L Total Dissolved Solids Can Be Used With Various Chemicals Di. Brand: 470120-630 Model: CON-BTA | Each | 104
| The Bach Company | 785.85 | Ekg Sensor; Measures Electrical Signals Produced By The Heart; Uses Three Disposable Electrode Packages; Package Of 100 Disposable Electrodes Included; Din Connector.. Brand: 470001-862 Model: EKG-BTA | Each | 179
| The Bach Company | 785.85 | Force Sensor; Dual Range Measures Forces From 0.05 To 10 N; Range Can Be Adjusted With Screw; Din Connector.. Brand: 470002-956 Model: DFS-BTA | Each | 120
| The Bach Company | 785.85 | Gas Pressure Sensor; Effective Range Of 0.75 To 1.5 Atm; Din Connector.. Brand: 470001-858 Model: GPS-BTA | Each | 94
| The Bach Company | 785.85 | Light Sensor; Spectral Response Over Range Of 400 To 700 Nm; Three Illumination Ranges Of 0-600, 0-6,000, And 0-150,000 Lux; Din Connector.. Brand: 470120-692 Model: LS-BTA | Each | 69
| The Bach Company | 785.85 | Magnetic Field Sensor; Hall Effect Transducer Measuring Magnetic Fields Over Two Ranges (+3.2 X 10 To The 4th Power Tesla And +6.4 X 10 To The 3rd Power Tesla); Din Connector.. Brand: 470002-960 Model: MG-BTA | Each | 64
| The Bach Company | 785.85 | Microphone; Small Box With Electric Microphone And Amplifier; Fully Compatible With Texas Instruments Calculator-Based Laboratory Datalogger.. Brand: 470002-962 Model: MCA-BTA | Each | 55
| The Bach Company | 785.85 | MIDDLE SCHOOL SCIENCE WITH VERNIER BOOK for use with LM-MS-DX Includes experiments in Earth science, life science, and physical science. | Each | 48
| The Bach Company | 785.85 | Ph Sensor; Ag-Agc1 Combination Ph Electrode Capable Of Measuring A Range Of 0 To 13 Ph; Includes Signal-Conditioning Amplifier; Din Connector. Brand: 470039-294 Model: PH-BTA | Each | 94
| The Bach Company | 785.85 | PHYSICS WITH VERNIER BOOK for use with LQ2-PHY-DX Includes experiment in mechanics, sound, light, electricity, and magnetism. | Each | 48
| The Bach Company | 785.85 | Pressure Sensor; Effective Range Of 0 To 100 Psi (0 To 6.8 Atm) Absolute Pressure; Plastic Syringe And Tubing Included; Din Connector.. Brand: 470001-858 Model: GPS-BTA | Each | 94
| The Bach Company | 785.85 | Relative Humidity Sensor; Monitors Relative Humidity Over A Range Of 0 To 95%(+5%); Din Connector.. Brand: 470039-928 Model: RH-BTA | Each | 74
| The Bach Company | 785.85 | Respiration Monitor Belt; Belt To Be Strapped Around Chest; With Hand-Bulb Air Pump; Din Connector.. Brand: 470001-866 Model: RMB | Each | 68
| The Bach Company | 785.85 | Temperature Probe, Long Cable; Teflon-Coated Brass Tube With Temperature Sensor At The End; Range Of -15 To 110 Degree Centigrade With Accuracy Of +0.2 Degree Centigrade; Can Withstand A Var. Brand: 470120-626 Model: TPL-BTA | Each | 99
| The Bach Company | 785.85 | Temperature Probe, Short Response-Time; Ceramic Temperature Sensor; Response Time Less Than 5 Seconds; Din Connector.. Brand: 470002-974 Model: TMP-BTA | Each | 40
| The Bach Company | 785.85 | Thermocouple;Capable Of Measuring Temperatures Over A Range Of -200 To 1400 Degree Centigrade (+10 Degree Centigrade); Uses Type-K Thermocouple Wire; Din Connector.. Brand: 470017-896 Model: TCA-BTA | Each | 74